## Sheet1
Register | Label | value | units | value | raw | raw | ReadOnly / | Type | Config | factor | offset | Display | Display | Display
|  | Formatted |  |  | (int) | (hex) | ReadWrite |  | Export |  |  | Decimal | Min | Max
Places
40000:1 | Watchdog1 | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 9
40000:3 | Well 1 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:5 | Well 1 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:7 | Well 1 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:9 | Well 1 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:11 | Well 1 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:13 | Well 1 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:15 | Well 1 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:17 | Well 1 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:19 | Well 1 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:21 | Well 2 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:23 | Well 2 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:25 | Well 2 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:27 | Well 2 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:29 | Well 2 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:31 | Well 2 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:33 | Well 2 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:35 | Well 2 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:37 | Well 2 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:39 | Well 3 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:41 | Well 3 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:43 | Well 3 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:45 | Well 3 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:47 | Well 3 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:49 | Well 3 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:51 | Well 3 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:53 | Well 3 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:55 | Well 3 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:57 | Well 4 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:59 | Well 4 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:61 | Well 4 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:63 | Well 4 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:65 | Well 4 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:67 | Well 4 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:69 | Well 4 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:71 | Well 4 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:73 | Well 4 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:75 | Well 5 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:77 | Well 5 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:79 | Well 5 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:81 | Well 5 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:83 | Well 5 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:85 | Well 5 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:87 | Well 5 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:89 | Well 5 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:91 | Well 5 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:93 | Well 6 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:95 | Well 6 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:97 | Well 6 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:99 | Well 6 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:101 | Well 6 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:103 | Well 6 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:105 | Well 6 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:107 | Well 6 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:109 | Well 6 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:111 | Well 7 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:113 | Well 7 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:115 | Well 7 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:117 | Well 7 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:119 | Well 7 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:121 | Well 7 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:123 | Well 7 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:125 | Well 7 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:127 | Well 7 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:129 | Well 8 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:131 | Well 8 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:133 | Well 8 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:135 | Well 8 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:137 | Well 8 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:139 | Well 8 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:141 | Well 8 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:143 | Well 8 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:145 | Well 8 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:147 | Well 9 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:149 | Well 9 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:151 | Well 9 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:153 | Well 9 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:155 | Well 9 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:157 | Well 9 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:159 | Well 9 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:161 | Well 9 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:163 | Well 9 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:165 | Well 10 Injection Gas Flow Rate | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:167 | Well 10 Injection Static Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:169 | Well 10 Injection Differential Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:171 | Well 10 Injection Temp | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:173 | Well 10 Setpoint | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:175 | Well 10 Yesterdays Flow | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:177 | Well 10 Manual/Auto | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 0
40000:179 | Well 10 Choke Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:181 | Well 10 Choke Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:183 | Suction Header Pressure | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 3
40000:185 | Suction/Sales Valve Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:187 | Suction/Sales Valve Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2
40000:189 | Recycle Valve Position | [5 empty] | ReadOnly | FLOAT32 |  | 1 | 0 | 2
40000:191 | Recycle Valve Command | [5 empty] | ReadWrite | FLOAT32 |  | 1 | 0 | 2